**SURGICAL INSTRUMENTS**

**Double J Forcep (Replace)**

Length 5” (13cm) Flat Handle

**Double J Forcep**

Length 6” (15cm) Flat Handle

**Vessel Dilator**

Length 5” (13cm) Flat Handle

**Vessel Dilator**

Length 6” (15cm) Flat Handle

**Vessel Dilator Long Tip (Replace)**

Length 5” (13cm) Flat Handle

**Vessel Dilator Straight (Replace)**

Length 5” (13cm) Flat Handle

**3 Hole Tooth**

Length 5” (13cm) 1\*2 Tooth

**3 Hole Plain**

Length 5” (13cm) Flat Handle

**Round Body Curved Forceps (Replace)**

Length 6” (15cm)

Tip – Curved without Platform

**Round Body Straight Forceps**

Length 6” (15cm)

Tip – Straight without Platform

**Round Body Curved Forceps**

Length 6” (15cm)

Tip – Curved without Platform

**Round Body Straight Forceps (Replace)**

Length 6” (15cm)

Tip – Straight without Platform

**Debakey Forcep**

Length 6” (15cm) Flat Handle

**Grip Jeweller Forcep Straight**

Length 5” (13cm)

Tip – Straight with Platform

**Grip Jeweller Forcep Straight**

Length 5” (13cm)

Tip – Straight with Platform

**Grip Jeweller Forcep Straight**

Length 6” (15cm)

Tip – Straight with Platform

**Grip Jeweller Forcep Straight**

Length 5” (13cm)

Tip – Curved with Platform

Length 5” (13cm)

Tip – Curved without Platform

Length 6” (15cm)

Tip – Curved with Platform

**Grip fine tooth Forceps (Replace)**

Length 6” (15cm) Flat Handle

**Adson Plain Forcep**Length 5” (13cm), Flat Handle

**Adson Tooth Forcep (Replace)**Length 5” (13cm), Flat Handle (1\*2 Tooth)

**Jeweller Forceps (replace)**

Length 5” (13cm), Curved Flat Handle

Length 6” (15cm), Curved Flat Handle

**Jeweller Forceps**

Length 5” (13cm), Straight Flat Handle

**Jeweller Forceps**

Length 6” (15cm), Straight Flat Handle

**Jeweller Forceps**

Length 5” (13cm), Tip - Angled

Length 6” (15cm), Tip - Angled

**Hair Transplant Forceps –**

Length 5” (13cm),

Tip- Straight, Flat Handle

**Hair Transplant Forceps –**

Length 5” (13cm),

Tip- Curved, Flat Handle

**Micro Scissor Straight Round Body**

Length 6” (15cm), Blade 13mm, Diameter 8mm, Tip - Straight

Length 7” (18cm), Blade 15mm, Diameter 8mm, Tip - Straight

Length 8” (20cm), Blade 13mm, Diameter 8mm, Tip – Straight

**Micro Scissor Curved Round Body (Replace)**

Length 6” (15cm), Blade 13mm, Diameter 8mm, Tip - Curved

Length 7” (18cm), Blade 15mm, Diameter 8mm, Tip - Curved

Length 8” (20cm), Blade 13mm, Diameter 8mm, Tip – Curved

**Micro Needle Holder Straight Round Body**

6” (15cm), Without Lock - Straight

7” (18cm), Without Lock - Straight

8” (20cm), Without Lock - Straight

**Micro Needle Holder Curved Round Body**

Length 6” (15cm), Without Lock – Curved

Length 6” (15cm), With Lock - Curved

Length 7” (18cm), Without Lock - Curved

Length 7” (18cm), With Lock - Curved

Length 8” (20cm), Without Lock - Curved

Length 8” (20cm), With Lock – Curved

**Micro Scissor Straight Flat Body**

Length 6” (15cm), Blade 13mm, Diameter 8mm, Tip - Straight

Length 7” (18cm), Blade 15mm, Diameter 8mm, Tip - Straight

Length 8” (20cm), Blade 13mm, Diameter 8mm, Tip - Straight

**Micro Scissor Holder Curved Flat Body**

Length 6” (15cm), Tip - Curved

Length 7” (18cm), Tip - Curved

Length 8” (20cm), Tip - Curved